## Dictionary
Category | Data Field name | Data type | Description | Example | Source (proximal) | Source (original) | Derivation | Quality Assurance (QA) screening steps | Notes
Indices | Project Index | Integer | A unique integer for each unique project | 1 |  |  | Assign a unique integer to each unique row of the dataset
Indices | Contractor Index | Integer | A unique integer for each unique contractor | 20 |  |  | Assign a unique integer to each unique contractor address
Indices | Project Site Index | Integer | A unique integer for each unique customer address | 500 |  |  | Assign a unique integer to each unique customer address
Site | Customer County | Text | County in which the project occurred | Stanislaus County | Incentive Clearinghouse |  | Geocoding
Site | Gas IOU Territory #1 | Text | Denotes in which Investor-Owned Utility's natural gas service territory the project occurred | Pacific Gas & Electricity | Incentive Clearinghouse | Mapping of addresses to IOU territories | Appended by Energy Solutions
Site | Gas IOU Territory #2 | Text | If the ZIP code in which the project occurred is shared by two IOU gas service territories, this field denotes the second IOU that services this ZIP code | Southern California Gas | Incentive Clearinghouse | Mapping of addresses to IOU territories | Appended by Energy Solutions |  | Incentive funds are split evenly between each IOU in shared ZIP codes
Site | CA Climate Zone | Integer | Denotes in which of the 16 California Climate Zones, as defined by the CEC, the project occurred | 16 | Incentive Clearinghouse | CEC mapping of ZIP codes to CA climate zones | Appended by Energy Solutions
Site | Disadvantaged Community | Boolean | Denotes whether a project occurred in a Census Tract labeled as a Disadvantaged Community per CalEnviroScreen 4.0 | TRUE | Incentive Clearinghouse | Version 4.0 of the California EPA’s CalEnviroScreen | Appended by Energy Solutions
Site | Census Tract Median Household Income ($ thousands) | Integer | Per the ACS Economics survey, the median household income of the Census Tract of the home in which the project occurred | 94 | Incentive Clearinghouse | American Community Survey (Census Bureau) | Appended by Energy Solutions
Program | TECH Program Name | Text | Denotes whether a project involved a HPWH or a HP HVAC installation | TECH Clean California - Heat Pump Water Heating | Incentive Clearinghouse | Contractor | Appended by Energy Solutions |  | Currently two TECH programs: "TECH Clean California - Heat Pump HVAC" and "TECH Clean California - Heat Pump Water Heating"
Site | Building Type | Text (categorical) | Type of residential building in which the project occurred: Single Family or Multifamily | Single Family | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove dash from in between "single" and "family" if present | The TECH team defines a building as Single Family if it has fewer than 5 dwelling units
Site | Home Square Footage | Float | Area of floorspace, in square feet, in the building in which the project occurred | 1243 | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove any non-integer entries; remove any digits less than 75 | Only provided by TECH Contractors for HVAC installations
Site | Panel Capacity Pre Install (Amps) | Float | Capacity of the electrical panel that will serve the installed heat pump, in Amperes, prior to the installation | 125 | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove any non-integer entries; remove any entries less than 50 or greater than 5000 | Very few houses have panel capacities <50 Amps, so entries of <50 are assumed to be erroneous or describe a single circuit rather than the entire panel, which is not the purpose of this field.
Site | Panel Capacity Post Install (Amps) | Float | Capacity of the electrical panel that will serve the installed heat pump, in Amperes, following the installation | 200 | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove any non-integer entries; remove any entries less than 50 or greater than 5000 | Extremely few houses with electric space or water heating could have a panel capacity <50 Amps, so entries of <50 are assumed to be erroneous or describe a single circuit rather than the entire panel, which is not the purpose of this field.
Equipment - General | Product Type | Text (categorical) | Category of heat pump product installed, as defined by AHRI | Mini/Multi Split | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | Does not vary for HPWHs. For HP HVAC, can be Split Unitary Equipment, Mini/Multi Split, or Packaged Unitary Equipment. See HVAC Equipment Type for further disaggregation.
Equipment - General | Model Production Status | Text (categorical) | Indicates whether the model of heat pump installed is still being manufactured | Production Stopped | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - General | AHRI Type | Text (categorical) | Model type, as defined by AHRI | HRCU-A-CB | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | See AHRI Types tab for documentation of meaning of each type
Equipment - General | AHRI Descriptor | Alphanumeric | Additional description provided by AHRI | 10298040 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - WH | NEEA Tier | Integer | Score given to the installed HPWH model in the NEEA QPL database | 3 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | Only provided for heat pump water heaters, starting Q1 2022
Equipment - WH | Uniform Energy Factor | Float | The Uniform Energy Factor (UEF) of the installed HPWH. UEF is determined by the Department of Energy's test method outlined in 10 CFR Part 430, Subpart B, Appendix E. | 3.39 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | The higher the UEF value is, the more efficient the water heater.
Equipment - WH | Rated Storage Volume (gal) | Float | The water storage volume, in gallons, of the installed HPWH | 63 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - WH | First Hour Rating (GPH) | Float | The number of gallons of hot water that the HPWH can produce in one hour of operation | 60 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - WH | CTA-2045 | Boolean | Indicates whether the installed HPWH includes a port compatible with the CTA-2045 standard | TRUE | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | CTA-2045 was formerly CEA-2045. The standard defines a "modular communications interface" or MCI, kind of like a USB port standard, only for appliances -- specifically, water heaters, air conditioning units, pool pumps, and electric vehicle chargers. https://www.greentechmedia.com/articles/read/a-new-standard-for-the-smart-grid-ready-home-appliance
Equipment - WH | Input Rate (kW) | Float | Amount of power drawn by the installed water heater | 2 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - WH | NEEA Cold Climate Efficiency | Float | A rating provided by NEEA quantifying the cold climate performace of the installed HPWH unit | 3.2 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | See https://neea.org/our-work/cold-climate-dhp-specification
Equipment - WH | Recovery Efficiency (%) | Float | Ratio of energy (heat) added to water divided by the energy consumed by the HPWH. For HPWHs this is typically greater than 100% because more energy is added to the water than is consumed by the appliance. | 2 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - HVAC | HVAC equipment type | Text (categorical) | Mini-split | Incentive Clearinghouse | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Read data from Product Type field; disaggregate mini-split and multi-split units using AHRI type, but keep Split Unitary Equipment and Packaged Unitary Equipment the same |  | Mini-Split AHRI types: HRCU-A-CB, HRCU-A-CB-O, HMSV-A-CB-O. Multi-Split types: HMSR-A-CB, HMSV-A-CB. Packaged Unitary Equipment type: HSP-A. Split Unitary Equipment types: HRCU-A-C, HRCU-A-CB.
Equipment - HVAC | Cooling Source | Text string | The type of heat source/sink used by the installed heat pump HVAC equipment | Air cooled | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - HVAC | Cooling Capacity (tons) | Float | Rated capacity, not nominal. The amount of heat that the installed heat pump HVAC system can remove from the conditioned space in one hour | 3.38 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | One ton is equal to 12,000 Btu
Equipment - HVAC | Heating Capacity (tons) | Float | Rated capacity, not nominal. The amount of heat that the installed heat pump HVAC system can add to the conditioned space in one hour | 1.83 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Equipment - HVAC | EER | Float | An indicator of cooling efficiency of the installed heat pump HVAC system. EER is the ratio of output cooling energy to input electrical energy at a given operating point. EER is normally calculated with a 95 °F outside temperature and an inside (return air) temperature of 80 °F and 50% relative humidity. | 9.2 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | EER stands for Energy Efficiency Ratio
Equipment - HVAC | SEER | Float | An indicator of cooling efficiency of the installed heat pump HVAC system. SEER is the ratio of output cooling energy to input electrical energy over an entire cooling season. | 17 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions |  | SEER stands for Seasonal Energy Efficiency Ratio. Most modern air conditioners have a SEER of 13 to 21.
Equipment - HVAC | HSPF (Region IV) | Float | An indicator of heating efficiency of the installed heat pump HVAC system. HSPF is the ratio of output heating energy to input electrical energy over an entire heating season. HSPF is region-specific, and the region for the HSPF value provided is Region IV of the United States. | 12.2 | Incentive Clearinghouse | AHRI and NEEA HPWH QPL databases | Appended by Energy Solutions
Savings | Ex Ante annual electricity savings (kWh) | Float | Estimated annual electricity savings resulting from this installation based on CPUC Work Papers | -1000 | Incentive Clearinghouse | CPUC Measure Packages (AKA Workpapers) | The project is matched to a CPUC Measure Package that most accurately describes it, then to a specific measure based on details of the previous and installed equipment as well as the climate zone
Savings | Ex Ante annual gas/propane savings (Therms) | Float | Estimated annual gas savings resulting from this installation based on CPUC Work Papers | 100 | Incentive Clearinghouse | CPUC Measure Packages (AKA Workpapers) | The project is matched to a CPUC Measure Package that most accurately describes it, then to a specific measure based on details of the previous and installed equipment as well as the climate zone
Savings | Ex Ante annual GHG savings (Metric tons CO2e) | Float | Estimated annual greenhouse gas savings resulting from this installation based on CPUC Work Papers | 10000 | Incentive Clearinghouse | CPUC Measure Packages (AKA Workpapers) | The project is matched to a CPUC Measure Package that most accurately describes it, then to a specific measure based on details of the previous and installed equipment as well as the climate zone
Cost & Funding | Count Units Installed | Integer | The number of discrete heat pump units installed during this project | 2 | Incentive Clearinghouse | Contractor | Provided in incentive application |  | Most often is a number greater than 1 for single-family home installs for mini-/multi-split HP HVAC units
Cost & Funding | Total Project Cost ($) | Float | The total cost of equipment and installation for this project | 10000 | Incentive Clearinghouse | Invoice | Provided in incentive application | Remove any non-numeric entries; remove any entries greater than $70,000 or less than $500 | Includes equipment and installation costs only, such as material, labor, permitting, and other related material/labor cost
Cost & Funding | Total Project Cost per Unit ($) | Float | The total cost of equipment and installation for this project, divided by the number of installed units | 5000 | Incentive Clearinghouse | Invoice | The total cost of equipment and installation for this project, divided by the number of installed units | Remove any non-numeric entries
Cost & Funding | HPWH Norm Cost ($/gal) | Float | Normalized cost of installation for HPWH projects, allowing easy comparison of projects | 67.5 | Incentive Clearinghouse | Invoice, NEEA QPL | The total cost of equipment and installation for each HPWH project, divided by the product of the number of installed units and the storage volume (in gallons) of each unit
Cost & Funding | HVAC Norm Cost ($/ton) | Float | Normalized cost of installation for HP HVAC projects, allowing easy comparison of projects | 6345.22 | Incentive Clearinghouse | Invoice, AHRI QPL | The total cost of equipment and installation for each HP HVAC project, divided by the product of the number of installed units and the cooling capacity (in tons) of each unit
Cost & Funding | Incentive 1 ($) | Float | An incentive paid to the Contractor that performed this project | 4000 | Incentive Clearinghouse |  | The location, type of unit installed, and quantity of units installed factor into the incentive amount a Contractor receives
Cost & Funding | Incentive 1 Funder | Text | The program that provided the incentive labeled "Incentive 1" | TECH Clean California | Incentive Clearinghouse |  |  |  | For 2021 and 2022: always TECH
Cost & Funding | Incentive 2 ($) | Float | A second incentive paid to the Contractor that performed this project, layered with Incentive 1 | 2000 | Incentive Clearinghouse |  | The location, type of unit installed, and quantity of units installed factor into the incentive amount a Contractor receives
Cost & Funding | Incentive 2 Funder(s) | Text | The program(s) that provided the incentive labeled "Incentive 2" | BayREN Home + | Incentive Clearinghouse |  |  |  | Status 3/7/22: not populated. Options: BayREN, SMUD, PG&E CHR, SC AQMD
Cost & Funding | Total Incentive Received by Contractor ($) | Float | The sum of all known incentives received by the contractor/customer as a result of this project | 4000 | Incentive Clearinghouse |  | Sum of Incentive 1 and Incentive 2
Installation - General | Installation Start Date | Date | The date on which the installation of all heat pump equipment and associated work began | 2022-04-30 | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove any non-date entries; remove any entries with dates in the future or dates before June 1, 2021 (no TECH incentives were available before this date)
Installation - General | Installation End Date | Date | The date on which the installation of all heat pump equipment and associated work ended | 2022-05-15 | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove any non-date entries; remove any entries with dates in the future or dates earlier than Installation Start Date
Installation - General | Installation Duration (days) | Integer | The duration of the installation of all heat pump equipment and associated work | 2 | Incentive Clearinghouse | Contractor | Installation End Date - Installation Start Date | Remove any non-numeric entries; remove any entries greater than 600
Installation - General | Permit Request | Boolean | Indicates whether a permit was requested for the project | TRUE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - General | Panel Upgrade | Boolean | Indicates whether the contractor upgraded the amperage capacity of the home's electrical panel as part of the installation | TRUE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - WH | HPWH Operating Mode | Text (categorical) | The operating mode in which the HPWH was left upon installation. Options are: Heat Pump/Hybrid/Electric/Vacation. | Hybrid | Incentive Clearinghouse | Contractor | Provided in incentive application |  | Definitions of operating modes: (1) Heat Pump - uses only the heat pump to heat water, never the backup electric resistance element; (2) Hybrid - uses either the heat pump or electric resistance element to heat water; (3) Electric - uses only the electric resistance element to heat water, never the heat pump; (4) Vacation - maintains water temperature above freezing but not at typical hot water temperature and preferentially uses heat pump to do so.
Installation - WH | Location HPWH Installed in Bldg | Text string | A description provided by the contractor of the location in the building in which the HPWH was installed | garage | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove any entries including a digit, which typically are addresses that the contractor has incorrectly entered here due to misinterpretation of the question
Installation - WH | Condensate Pump Required | Boolean | Indicates whether a condensate pump was required for this HPWH installation | FALSE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - WH | Mixing Valve Installed | Boolean | Indicates whether a thermostatic mixing valve (TMV) was included in this HPWH installation | TRUE | Incentive Clearinghouse | Contractor | Provided in incentive application |  | As of 6/20/2022, Mixing Valves are required for all HPWHs that receive a TECH incentive
Installation - WH | Grid Connected | Boolean | Indicates whether the installed HPWH was grid-connected at the time of installation | FALSE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - WH | Previous WH Type | Text (categorical) | Describes the previous water heater owned by the customer | Tankless | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - WH | Previous WH Fuel Type | Text (categorical) | The fuel type of the previous water heater owned by the customer | Natural Gas | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - WH | Previous WH Volume (gal) | Float | The storage capcity of the previous water heater owned by the customer | 50 | Incentive Clearinghouse | Contractor | Provided in incentive application | Remove any non-integer entries; remove any entries greater than 200
Installation - HVAC | Duct Replacement | Boolean | Indicates whether the contractor performed a duct replacement as part of this heat pump HVAC installation. This is a quality installation measure that can make the contractor eligible for higher incentives in certain parts of CA. | FALSE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Duct Sealing | Boolean | Indicates whether the contractor performed duct sealing as part of this heat pump HVAC installation. This is a quality installation measure that can make the contractor eligible for higher incentives in certain parts of CA. | TRUE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Smart Thermostat Included | Boolean | Indicates whether the contractor also installed a smart thermostat alongside the heat pump HVAC system. This is a quality installation measure that can make the contractor eligible for higher incentives in certain parts of CA. | FALSE | Incentive Clearinghouse | Contractor | Provided in incentive application |  | Add detail on what this means in terms of grid/HP connection
Installation - HVAC | Manual J Completed | Boolean | Indicates whether the contractor performed an ACCA Manual J load report as part of this installation. This is a quality installation measure that can make the contractor eligible for higher incentives in certain parts of CA. | TRUE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Performance Report Completed | Boolean | Indicates whether the contractor conducted a Performance Report as part of this installation. This is a quality installation measure that can make the contractor eligible for higher incentives in certain parts of CA. | TRUE | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Previous AC Type | Text | Describes the kind of air conditioning system in the customer's home prior to the heat pump HVAC installation | Central | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Previous AC Model Number | Alphanumeric | If available, the model number air conditioning system in the customer's home prior to the heat pump HVAC installation | AG94873483 | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Previous Furnace Fuel Type | Text (categorical) | The kind of fuel used by the furnace system in the customer's home prior to the heat pump HVAC installation | Gas | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Previous Furnace Model Number | Alphanumeric | If available, the model number of the furnace system in the customer's home prior to the heat pump HVAC installation | 74A5000 | Incentive Clearinghouse | Contractor | Provided in incentive application
Installation - HVAC | Furnace Status After Install | Text (categorical) | Describes the way the furnace is set up to be used (if at all) after the heat pump HVAC system was installed. Options: Fully Decommissioned, Setup to run in emergency scenarios only, Set up to use the blower only. | Fully Decommissioned | Incentive Clearinghouse | Contractor | Provided in incentive application |  | Definitions: (1) "Fully decommissioned" - the furnace was permanently turned off and the house no longer uses gas for space heating under any circumstances; (2) "Set up to run in emergency scenarios only" - the furnace is left on the premises but only used for backup heating in very low temperature events; (3) "Set up to use the blower only" - the heating element of the furnace was permanently uninstalled, but the air circulation element of the furnace was kept to help distribute heat generated by the new heat pump unit.

## AHRI Types
Code | Description
SP-A | single package air conditioner, air cooled
SP-W | single package air conditioner, water cooled
RC-A | air-conditioner with remote air-cooled condenser
SPY-A | year-round single package air conditioner, air-cooled
RCU-A-CB | split system, air-cooled condensing unit, coil with blower
RCU-A-C | split system air-cooled condensing unit, coil alone
RCUY-A-CB | year-round air conditioner, remote air-cooled condensing unit
RCU-A-CB-O | split system air-cooled condensing unit, coil w/blower, free delivery
HSP-A | single-package heat pump, air source
HRCU-A-C | heat pump with remote outdoor unit, no indoor fan, air source
HRCU-A-CB | split system heat pump with remote outdoor unit, air source
HRCU-A-CB-O | split system heat pump with remote outdoor unit, air source, free delivery